## Slide 1: Lesson 5 – Observing Beyond our Senses: Inquiry Drives Technology
Driving Question:
How could we use the observed light properties to create an accurate measuring device?

## Slide 2: Can we create a measuring device using our observed properties of light?
What would we need to know to determine if our device was accurate?

## Slide 3: How do we know our spring scales are accurate?
1 kg

## Slide 4: How do we know spring scales are accurate?
1 kg
4 kg
2 kg
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)
 offset or “blank”

## Slide 5: How do we know spring scales are accurate?
1 kg
4 kg
2 kg
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)
1 kg

## Slide 6: SI Units and time

## Slide 7: How do we know spring scales are accurate?
1 kg
4 kg
2 kg
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)
2 kg

## Slide 8: How do we know spring scales are accurate?
2 kg
1 kg
4 kg
2 kg
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)

## Slide 9: How do we know spring scales are accurate?
1 kg
4 kg
2 kg
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)

## Slide 10: How do we know spring scales are accurate?
1 kg
4 kg
2 kg
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)

## Slide 11: How do we know spring scales are accurate?
1 kg
4 kg
2 kg
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)

## Slide 12: How do we know spring scales are accurate?
Chart: 
| 0 | 1 | 2 | 3 | 4 | 5 | 6
 | 0.3 | 1.3559 | 2.4734 | 3.6372 | 4.7192 | 5.7753 | 6.7759
stretch (cm)
mass (kg)
Calibration curve
What mass causes a stretch of 5.5 cm?
=4.34 kg
Final calibration data
Stretch = mass (1.13) + 0.60
Mass = (stretch – 0.60) / 1.13
5.5 cm

## Slide 13: What would we need to know to make an accurate calibration curve for our device?
Tank of milk and water
light sensor

## Slide 14: Let’s look at milk fat globules in water
+
using serial dilutions

## Slide 15
0.2 mm diameter FOV
Homogenized milk contains many small globules of fat
Each mL of 2% milk contains about 10 million globules
…this “population density” is about 1010 globules/L
Visible light is scattered nicely by these globules, about 5 m across on average
Why milk?
About 10 m diameter glob is a big one
ten billion
Which is the size of many exxtremophile microbes we’ll be looking for .

## Slide 16: Or perhaps build and calibrate a device with a test tube holder, a light, and a light sensor. Photoresistor LED light source Insert test tube with microorganism sample here

## Slide 17: The intensity of light that is transmitted decreases when the milk fat density. . .
(millions of globules per liter)
(photoresistor
voltage)
What will the graph look like?
…what would our measurements be?

## Slide 18: Will the calibration curve be similar for all devices utilizing the same properties of light?
Will the calibration curve be similar for all devices utilizing the same parts?
What’s the real worth of measurements done without calibration?